## Sheet1
OLD PLANT
PLACE | WATTS | VOLTS | AMPS | RPM | MOUNT
DECLINE | 600KW | 525V | 738A | 1490RPM | FOOT
DECLINE AUX FAN | 3KW | 525V | 4.65A | 1420RPM | FLANGE
DECL OIL COOL FAN | 0,55KW | 525V | 1,08A | 1440RPM | FLANGE
DECL OIL PUMP | 1,5KW | 525V | 2,48A | 1440RPM | FLANGE
DECL TAKE UP NO.1 | 22KW | 525V | 30A | 2950RPM | FOOT
DECL TAKE UP NO.2 | 7,5KW | 525V | 12A | 970RPM | FOOT
BELT CLAMP POWER PACK | 7,5KW | 380V | 15,1A | 1440RPM | FLANGE
DECL MAGNET DRIVE | 4KW | 525V | 5,91A | 1430RPM | FLANGE
COUNTER WEIGHT | 2,2KW | 525V | 4A | 1420RPM | FLANGE
DECL DIVERTER CAR ACTUATOR | 6KW | 525V | 8A | 1465RPM | FLANGE
FIRE STATION MAIN PUMP | 50KW | 525V | 72A | 1480RPM | FOOT
FIRE STATION JOCKY | 5,6KW | 525V | 8A | 2900RPM | FLANGE
SILO DISCHARGE FEEDER | 3KW | 525V | 5A | 975RPM | FOOT
SILO DISCHARGE CONV DRIVE | 45KW | 525V | 60A | 1475RPM | FLANGE
SILO DISCHARGE TAKE-UP | 2,2KW | 525V | 4A | 1420RPM | FLANGE
RECIPOCATING PUMP | 110KW | 525V | 148A | 1480RPM | FOOT
MAKE -UP CIRCULATION PUMP | 30KW | 525V | 40A | 2970RPM | FOOT
3,3KV EMERGENCY PUMP | 350KW | 3,3KV | 40A | 2975RPM | FOOT
CRUSHER DISCHARGE CONV | 250KW | 525V | 348A | 1480RPM | FOOT
GEARBOX OIL COOL FAN | 0,55KW | 525V | 1,5A | 1395RPM | FLANGE/FOOT
GEARBOX OIL PUMP | 2KW | 525V | 3A | 1395RPM | FLANGE
DIVERTER CAR ACTUATOR | 6KW | 525V | 8A | 1465RPM | FLANGE
CRUSHER AUX FAN | 0,75KW | 525V | 1,3A | 1415RPM | FLANGE
CRUSHER FEED BELT DRIVE | 22KW | 525V | 30A | 1470RPM | FLANGE
CRUSHER FEED TAKE-UP | 3KW | 525V | 5A | 1410RPM | FOOT
SCALPING GRIZZLY | 55KW | 525V | 72A | 1475RPM | FOOT
JAW CRUSHER | 160KW | 525V | 212A | 1480RPM | FOOT
CRUSHER LUBRICATION HYDR | 2KW | 525V | 4A | 1425RPM | FLANGE
CRUSHER DISC CHUTE POWERPACK | 18KW | 525V | 26A | 1470RPM | FLANGE/FOOT
CRUSHER BELT MAGNET DRIVE | 4KW | 525V | 5,91A | 1430RPM | FLANGE
CRUSHER SUMP PUMP | 55KW | 525V | 70A | 2965RPM | FLANGE/FOOT
FEEDER MOTOR CRUSHER | 6KW | 525V | 10,09A | 980RPM | FOOT
TRIPPER CONV DRIVE | 45KW (WAS) | 525V | 60A | 1475RPM | FLANGE
TRIPPER CONV TAKE-UP | 2KW | 525V | 4A | 1420RPM | FLANGE
TRIPPER CAR DRIVE | 15KW | 525V | 22A | 1460RPM | FLANGE
ROM BIN | 30KW | 525V | 44A | 1460RPM | FLANGE
ROM BIN COOLING FAN | 0,55KW | 525V | 0,74A | 2800RPM | FLANGE
DUST SUPPRESSION | 11KW | 525V | 16,2A | 1470RPM | FOOT
NEW PLANT
Silo Feed Conv 1 (55CV01) Drive Motor | 37KW | 525V | 50.9 | 4P | B3
Silo Feed Conv 1 (55CV01) Take up winch | 7,5KW | 525V | 10.8 | 4P | B3
Silo Feed Conv 2 (55CV02) Drive Motor | 110KW | 525V | 147 | 4P | B3
Silo Feed Conv 2 (55CV02) Take up winch | 5,5KW | 525V | 7.92 | 4P | B3
SILO FEED CONV 3 (55CV03) DRIVE MOTOR | 75KW | 525V | 100 | 4P | B3
SILO FEED CONV 3 (55CV03) TAKE UP WINCH | 5,5KW | 525V | 7.92 | 4P | B3
SAT TP 1 BIN 1 ROCK BREAKER POWER PACK | 18,5KW | 525V | 26 | 4P | B3
SAT TP 1 BIN 1 RADIAL DOOR | 11KW | 525V | 15.9 | 4P | B3
SAT TP 1 BIN 1 VIBRATING FEEDER | 7,1KW | 525V | 10 | 4P | B3
SAT TP 1 BIN 2 ROCK BREAKER POWER PACK | 18,5KW | 525V | 26 | 4P | B3
SAT TP 1 BIN 2 RADIAL DOOR | 11KW | 525V | 15.9 | 4P | B3
SAT TP 1 BIN 1 VIBRATING FEEDER | 7,1KW | 525V | 10 | 4P | B3
SAT TP 1 BIN 3 ROCK BREAKER POWER PACK | 18,5KW | 525V | 26 | 4P | B3
SAT TP 1 BIN 3 RADIAL DOOR | 11KW | 525V | 15.9 | 4P | B3
SAT TP 1 BIN 1 VIBRATING FEEDER | 7,1KW | 525V | 10 | 4P | B3
SAT TP 2 BIN 1 ROCK BREAKER POWER PACK | 18,5KW | 525V | 26 | 4P | B3
SAT TP 2 BIN 1 RADIAL DOOR | 11KW | 525V | 15.9 | 4P | B3
SAT TP 1 BIN 1 VIBRATING FEEDER | 7,1KW | 525V | 10 | 4P | B3
SAT TP 2 BIN 2 ROCK BREAKER POWER PACK | 37KW | 525V | 50.9 | 4P | B3
SAT TP 2 BIN 2 RADIAL DOOR | 11KW | 525V | 15.9 | 4P | B3
SAT TP 1 BIN 1 VIBRATING FEEDER | 7,1KW | 525V | 10 | 4P | B3
SAT TP 2 BIN 2 VIBRATING FEEDER DISCH CHUTE ATUATTOR | 2,2KW | 525V | 3.47 | 4P | B3/5
SAT TP 2 BIN 3 ROCK BREAKER POWER PACK | 37KW | 525V | 50.9 | 4P | B3
SAT TP 2 BIN 3 RADIAL DOOR | 11KW | 525V | 15.9 | 4P | B3
SAT TP 1 BIN 1 VIBRATING FEEDER | 7,1KW | 525V | 10 | 4P | B3
SAT TP 2 BIN 3 VIBRATING FEEDER DISCH CHUTE ATUATTOR | 2,2KW | 525V | 3.47 | 4P | B3/5
SAT TP 2 BIN 4 ROCK BREAKER POWER PACK | 37KW | 525V | 50.9 | 4P | B3
SAT TP 2 BIN 4 RADIAL DOOR | 11KW | 525V | 15.9 | 4P | B3
SAT TP 1 BIN 1 VIBRATING FEEDER | 7,1KW | 525V | 10 | 4P | B3
SAT TP 2 BIN 4 VIBRATING FEEDER DISCH CHUTE ATUATTOR | 2,2KW | 525V | 3.47 | 4P | B3/5
SAT TIP 1 CONV 1 (60CV01) DRIVE MOTOR | 90KW | 525V | 120 | 4P | B3
SAT TIP 1 CONV 1 (60CV01) TAKE UP WINCH | 7,5KW | 525V | 10.7 | 4P | B3
SAT TIP 1 CONV 2 (60CV02) DRIVE MOTOR | 132KW | 525V | 176 | 4P | B3
SAT TIP 1 CONV 2 (60CV02) TAKE UP WINCH | 15KW | 525V | 22 | 4P | B3
SAT TIP 2 CONV 1 (65CV01) DRIVE MOTOR | 110KW | 525V | 147 | 4P | B3
SAT TIP 2 CONV 1 (65CV01) TAKE UP WINCH | 5,5kw | 525V | 7.92 | 4P | B3/5
SAT TIP 2 CONV 2 (65CV02) DRIVE MOTOR | 90KW | 525V | 120 | 4P | B3
SAT TIP 2 CONV 2 (65CV02) TAKE UP WINCH | 7,5KW | 525V | 10.7 | 4P | B3
SAT TIP SILO FEED CRUSHER (CS0002) DRIVE MOTOR | 160KW | 525V | 213 | 4P | B3
SAT TIP SILO FEED CRUSHER (CS0002) SCALPING SCREEN | 37KW | 525V | 50.9 | 4P | B3
SAT TIP SILO FEED CRUSHER (CS0002) POWER PACK | 7,5KW | 525V | 10.8 | 4P | B5
SAT TIP SILO FEED CRUSHER (CS0002) SUMP PUMP | 4KW | 525V